RusticStone™

Synthetic Stone Column

Architectural Guide Specification

GENERAL

SECTION INCLUDES

RusticStone™ prefinished fiberglass-reinforced polymer/marble dust composite columns with integral color.

RELATED SECTIONS

** NOTE TO SPECIFIER **  Delete any sections below not relevant to this project; add others as required.

Section 06 60 00.

REFERENCES

** NOTE TO SPECIFIER **  Delete references from the list below that are not actually required by the text of the edited section.

ASTM E 84 - Standard Test Method for Surface Burning Characteristics of Building Materials.

SUBMITTALS

Submit under provisions of Section 01300.

Product Data:  Manufacturer's data sheets on each product to be used, including:

Preparation instructions and recommendations.

Storage and handling requirements and recommendations.

Installation methods.

Verification Samples:  For each finish product specified, two samples, minimum size 3 inches (150 mm) square, and representing actual product, color, and patterns.

QUALITY ASSURANCE

** NOTE TO SPECIFIER **  Include a mock-up if the project size and/or quality warrant taking such a precaution.  The following is one example of how a mock-up on a large project might be specified.  When deciding on the extent of the mock-up, consider all the major different types of work on the project.

Mock-Up:  Provide a mock-up for evaluation of surface preparation techniques and application workmanship.

Finish areas designated by Architect.

Do not proceed with remaining work until workmanship, color, and sheen are approved by Architect.

Refinish mock-up area as required to produce acceptable work.

DELIVERY, STORAGE, AND HANDLING

Store and dispose of solvent-based materials, and materials used with solvent-based materials, in accordance with requirements of local authorities having jurisdiction.

Columns shall be stored in the manufacturer’s crates until ready for use. If necessary to remove from crates, store in crated position with duplicate supports as originally crated.

Capitals and bases shall be stored in the manufacturer’s packaging until ready for use.

PROJECT CONDITIONS

Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results.  Do not install products under environmental conditions outside manufacturer's limits.

WARRANTY

** NOTE TO SPECIFIER **  Delete warranty paragraphs below if specific products covered by warranty are not required for your project.

RusticStone™ Columns and Components:  Manufacturer shall warrant that RusticStone™ column shafts, capitals, and bases shall be free of manufacturing defects in material and workmanship for as long as the original purchaser owns the structure to which they are attached. Manufacturer shall warrant that RusticStone™ column shafts, capitals and bases shall be waterproof and impervious to insects.

PRODUCTS

MANUFACTURERS

Acceptable Manufacturer:  Melton Classics, Inc.; P. O. Box 465020, Lawrenceville, GA  30042.  Phone: (800) 963-3060.  Fax: (770) 962-6988.  Email: sales@meltonclassics.com.  Web: www.meltonclassics.com.

** NOTE TO SPECIFIER **  Delete one of the following two paragraphs; coordinate with requirements of Division 1 section on product options and substitutions.

Substitutions:  Not permitted.

Requests for substitutions will be considered in accordance with provisions of Section 01600.

** NOTE TO SPECIFIER **  Delete if not required.

COLUMNS

** NOTE TO SPECIFIER **  Delete if not required.

RusticStone™ prefinished fiberglass-reinforced polymer/marble dust composite columns with integral color.

** NOTE TO SPECIFIER **  Delete style not required.

Column Style:  Unfluted tapered round.

Column Style:  Fluted tapered round.

Column Style:  Unfluted non-tapered round.

Column Style:  Plain non-tapered square.

Column Style:  Paneled non-tapered square.

Column Style:  Fluted non-tapered square.

** NOTE TO SPECIFIER **  Delete base not required.

Base: One-piece molded base consistent with the Tuscan Order of classical architecture.

Base: One-piece molded Attic Base consistent with classical architecture.

** NOTE TO SPECIFIER **  Delete capitals/ornamentals if not required.

Capitals/Ornamentals Type:  Tuscan.

** NOTE TO SPECIFIER **  Delete plan types not required.

Column Plan Type:  A – Full round.

Column Plan Type:  B – 3/4 round.

Column Plan Type:  C – 3/4 round pilaster.

Column Plan Type:  D – 1/2 round pilaster.

Column Plan Type:  E – Square.

Column Plan Type:  F – 1/2 Square pilaster.

Column Plan Type:  G – Corner square.

Column Plan Type:  H – Corner square engaged.

Column Plan Type:  K – Back square engaged.

Column Plan Type:  L – Corner appliqué.

Column Plan Type:  Q – 1/4 round.

Column Plan Type:  W – Back round engaged.

** NOTE TO SPECIFIER ** Verify drawings show dimensions if not included in the specifications.

Column Bottom Shaft Diameter or Width:  Refer to Drawings.

Column Top Shaft Diameter or Width:  Refer to Drawings.

Column Overall Height:  Refer to Drawings.

** NOTE TO SPECIFIER ** Delete if not required.

Column Splitting: For pilaster.

Column Splitting: For reassembly.

** NOTE TO SPECIFIER ** Delete color not required.

Appearance:  Alabaster White color.

Appearance:  Fieldstone Tan color.

Appearance:  Limestone Gray color.

** NOTE TO SPECIFIER **  Delete if not required.

Accessories: Uplift loads resistance achieved with a concealed connection using Simpson’s Epoxy-Tie anchoring system or similar product.

MATERIALS

** NOTE TO SPECIFIER **  Delete if not required.

FRP:  Centrifugal-cast, fiberglass-reinforced polymer composite with integral coloration.

Columns shall comply with ASTM E 84.

Flame Spread: 15.

Smoke Developed: 335.

FABRICATION

** NOTE TO SPECIFIER **  Delete if not required.

FRP Fabrications:

Column Shafts: prefinished fiberglass-reinforced polymer/marble dust composite with integral color.

Tuscan capitals: prefinished fiberglass-reinforced polymer/marble dust composite with integral color.

Tuscan bases: non-load bearing prefinished fiberglass-reinforced polymer/marble dust composite with integral color.18” diameter and larger bases will be split at the factory and cannot be ordered whole.

FINISH

** NOTE TO SPECIFIER **  Materials do not require finishing.

Materials:  Materials do not require finishing.

EXECUTION

EXAMINATION

Do not begin installation until substrates have been properly prepared.

If substrate preparation is the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.

PREPARATION

Clean surfaces thoroughly prior to installation.

Prepare surfaces using the methods recommended by the manufacturer for achieving the best result for the substrate under the project conditions.

INSTALLATION

Install in accordance with manufacturer's instructions.

PROTECTION

Protect installed products until completion of project.

Touch-up, repair or replace damaged products before Substantial Completion.

END OF SECTION