DuraClassic™

Poly/Marble Balustrade

Architectural Guide Specification

1.0 	GENERAL

1.1	PRODUCT DESCRIPTION

A. 	Balustrade system shall be DuraClassic™ Poly/Marble Balustrade by Melton Classics Incorporated according to their design number ______________.

B.	All railing connections shall be made with Melton Classics stainless steel rail connection hardware.

C. 	Newel posts shall be Melton Classics DuraClassic™ design number ____________.

1.2	SUBMITTALS

A.	Submit Melton Classics DuraClassic™ balustrade literature and part cut sheets.

1.3	DELIVERY STORAGE AND INSTALLATION

A.	Storage and installation shall be according to manufacturer-supplied instructions.

B. 	Balustrade components shall be protected from dirt and damage prior to and during

installation.

1.4	WARRANTY

A. 	Manufacturer shall furnish a Limited Lifetime Warranty that its DuraClassic™ Poly/Marble Balustrades shall be free from manufacturing defects.

2.0	PRODUCTS

2.1 	ACCEPTABLE MANUFACTURER

A.	Melton Classics Incorporated

P.O. Box 465020

Lawrenceville, GA 30042-5020

770-963-3060 * 800-963-3060 * Fax 770-962-6988

2.2	MATERIALS

A. 	Balusters, railings, newel posts, and spacer blocks shall be manufactured from

DuraClassic™ polymer/marble composite.

B.	Hardware shall be stainless steel.

C. 	Balusters shall be provided with structural pipe and polyurethane core.

3.0 	EXECUTION

3.1	INSTALLATION

A. 	Follow manufacturers detailed installation instructions using recommended adhesives and caulks.

B. 	Installer shall provide manufacturer with field measured templates for all radius railings.

B. 	Protect all DuraClassic™ Balustrade components from damage and dirt during the installation process.

C. 	Immediately after Installation prime and paint with Duration acrylic latex paint by

Sherwin-Williams.